## Slide 1: MPC vs DRL

## Slide 2: MPC Formulation
Objective
Design Variable
Zone Air Flow Setpoint
OBJ: ALPHA tuning, Fan power , normalizing two terms on objective function

## Slide 3: MPC Results

## Slide 4: Debug MPC
Fast fan dynamics
Exceed constraints

## Slide 5
Minimize fan power instead of system-level power
Make sure supply air temperature can be controlled at any time by enlarging water side size of the cooling coil

## Slide 6: 3/23
MPC model accuracy
PH=1
PH=1

## Slide 7: Zone Temperature Dynamics
Model 1: polynomial
Model 2: ANN
  1. one history step
  2. four history step

## Slide 8: Zone Dynamics Identification
Model 1: instant measurement
Model 1: average measurement
Model 2: instant measurement
Model 2: average measurement

## Slide 9: MPC
Model 1.2: PH=1

## Slide 10: MPC
Model 1.2: PH=4

## Slide 11: MPC
Model 2.2: PH=1

## Slide 12: MPC
Model 2.2: PH=4

## Slide 13: MPC
Instant Measurement
Average Measurement