## Slide 1: MPC vs DRL

## Slide 2: MPC Formulation
Objective
Design Variable
Zone Air Flow Setpoint
OBJ: ALPHA tuning, Fan power , normalizing two terms on objective function

## Slide 3: MPC Results

## Slide 4: Issue 1
System total power is not sensitive to air flow control

## Slide 5: Issue 2
Possible: PLR~0.8, most efficient

## Slide 6: Issue 3
Exceed constraint bounds
  MPC optimizer may not converge
  Alpha is not well-tuned
Is this a good MPC optimization problem???

## Slide 7: To-Do
1. remove chiller power; normalize objective function, tune alpha
2. change application to control setpoints
3. Five-zone DRL environment

## Slide 8: Debug MPC
Fast fan dynamics
Exceed constraints

## Slide 9: 3/19
MPC model accuracy
PH=1
PH=1