## Slide 1: Model Predictive Control VS Deep Reinforcement Learning Control
Yangyang Fu
Texas A$M University
10/28/2020
Building HVAC System

## Slide 2: System Description
Building HVAC – air side
  Five Zones – medium office
Control Testbed
  Inputs: VAV damper position:
  States: zone temperatures
  Output: power or heat flow

## Slide 3: Simulation Environment (Ongoing)
Github: https://github.com/YangyangFu/mpc-drl-tl.
Integrated environment for deep reinforcement learning using Modelica
  Jmodelica: simulate Modelica-based building energy system
  Opengym: interface for using Modelica models as DRL environment
  Pytorch: develop DRL algorithms
Environment is contained as a Docker file.
Build a tutorial of using this environment to solve the “pole-cart” problem

## Slide 4: Simulation Environment: To-do
To-do:
  Test VAV.fmu compilation and simulation - TAMU
  Configure DRL environement using VAV.fmu - TAMU
  Develop MPC for VAV model - TAMU
  Develop DRL/TL for VAV model - NU